**Sensor SE ECA 100 ipro H**

Humidity sensor as spare part for various small room fans of the ECA 100 ipro groups and various ventilation units with heat recovery of the Trio, WS 160 Flat, WS 170 and WS 300 Flat groups.

Technical data

|  |  |
| --- | --- |
| Article: | SE ECA 100 ipro H |
| Housing material: | Synthetic material |
| Colour: | white |
| Weight: | 0,01 kg |
| Weight including packaging: | 0,05 kg |
| Width: | 25 mm |
| Height: | 35 mm |
| Depth: | 17 mm |
| Width with packaging: | 175 mm |
| Height with packaging: | 250 mm |
| Depth with packaging: | 25 mm |
| Range: | A |
| GTIN (EAN): | 4012799100539 |
| Article number: | E157.0141.0000 |

Manufacturer: MAICO

SE ECA 100 ipro H Sensor