**Air filter, replacement WSG 600-1**

Replacement air filter for WR 600 centralised ventilation unit.

Technical data

|  |  |
| --- | --- |
| Article: | WSG 600-1 |
| Installation position: | vertical / horizontal |
| Weight: | 0,11 kg |
| Weight including packaging: | 0,13 kg |
| Filter class: | ISO Coarse 80 % (G4) |
| Width: | 430 mm |
| Height: | 370 mm |
| Depth: | 14 mm |
| Width with packaging: | 390 mm |
| Height with packaging: | 120 mm |
| Depth with packaging: | 260 mm |
| Packing unit: | 4 pieces |
| Suitable for products: | WR 600 |
| Range: | K |
| GTIN (EAN): | 4012799936886 |
| Article number: | 0093.0688 |

Manufacturer: MAICO

WSG 600-1 Air filter, replacement