**Air filter, replacement FF 17**

FF 17: Replacement air filter for EMA 17 wall-mounted fan.

Technical data

|  |  |
| --- | --- |
| Article: | FF 17 |
| Installation position: | vertical / horizontal |
| Weight: | 0,01 kg |
| Weight including packaging: | 0,2 kg |
| Filter class: | EU2 |
| Width: | 290 mm |
| Height: | 170 mm |
| Depth: | 60 mm |
| Width with packaging: | 300 mm |
| Height with packaging: | 175 mm |
| Depth with packaging: | 61 mm |
| Packing unit: | 5 pieces |
| Range: | C |
| GTIN (EAN): | 4012799933434 |
| Article number: | 0093.0343 |

Manufacturer: MAICO

FF 17 Air filter, replacement