**Air distributor extensions FFS-V**

Extension for the main connection of the air distributor to the ventilation riser branch.

Scope of delivery:

4 air distributor extensions

4 seal rings

A maximum of 4 additional air distributor extensions may be mounted per air distributor.

Technical data

|  |  |
| --- | --- |
| Article: | FFS-V |
| Weight: | 0,58 kg |
| Weight including packaging: | 0,6 kg |
| Width: | 229 mm |
| Height: | 57 mm |
| Depth: | 100 mm |
| Width with packaging: | 232 mm |
| Height with packaging: | 102 mm |
| Depth with packaging: | 232 mm |
| Packing unit: | 4 pieces |
| Range: | K |
| GTIN (EAN): | 4012799558736 |
| Article number: | 0055.0873 |

Manufacturer: MAICO

FFS-V Air distributor extensions