**Adaptor plug connector SVF 160**

Adaptor plug connector.

Technical data

|  |  |
| --- | --- |
| Article: | SVF 160 |
| Type of installation: | Recessed-mounted |
| Material: | Sheet steel |
| Nominal size: | 160 mm |
| Ambient temperature: | 60 °C |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799550532 |
| Article number: | 0055.0053 |

Manufacturer: MAICO

SVF 160 Adaptor plug connector