**Intermediate piece, asymmetric USAN55/220/125**

Features

Round to square transition piece.

Square: Sleeve size.

Round (asymmetrical): Nipple size

Surface: Sendzimir galvanised

Suitable for connection with MF-WE slide-in adaptor.

Technical data

|  |  |
| --- | --- |
| Article: | USAN55/220/125 |
| Nominal size: | 125 mm |
| Channel dimension: | 220 mm x Array x 55 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799556619 |
| Article number: | 0055.0661 |

Manufacturer: MAICO

USAN55/220/125 Intermediate piece, asymmetric