**Air filter, replacement WSG 170**

Replacement air filters for WS 160 Flat and WS 170... centralised ventilation units

Technical data

|  |  |
| --- | --- |
| Article: | WSG 170 |
| Installation position: | vertical / horizontal |
| Weight: | 0,11 kg |
| Weight including packaging: | 0,13 kg |
| Filter class: | ISO Coarse 80 % (G4) |
| Width: | 305 mm |
| Height: | 165 mm |
| Depth: | 17 mm |
| Width with packaging: | 310 mm |
| Height with packaging: | 175 mm |
| Depth with packaging: | 160 mm |
| Packing unit: | 10 pieces |
| Suitable for products: | WS 160 Flat, WS 170... |
| Range: | K |
| GTIN (EAN): | 4012799932703 |
| Article number: | 0093.0270 |

Manufacturer: MAICO

WSG 170 Air filter, replacement