**Wall/Ceiling grille FFS-WGB**

Designer wall/ceiling grille, suitable for the FFS-WA wall/ceiling outlet.

The grille made of brushed stainless steel has a modern design with a circular pattern of holes.

It is held in place with clamps.

Scope of delivery:

1 wall/ceiling grille

1 regenerable filter

Technical data

|  |  |
| --- | --- |
| Article: | FFS-WGB |
| Model: | Design with circular pattern of holes |
| Type of installation: | Fastening with clamps |
| Material: | Stainless steel, brushed |
| Weight: | 0,14 kg |
| Weight including packaging: | 0,18 kg |
| Diameter: | 150 mm |
| Width: | 150 mm |
| Height: | 150 mm |
| Depth: | 38 mm |
| Width with packaging: | 167 mm |
| Height with packaging: | 157 mm |
| Depth with packaging: | 47 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799558934 |
| Article number: | 0055.0893 |

Manufacturer: MAICO

FFS-WGB Wall/Ceiling grille