**External grille MGE 80/125 cu**

MGR: External grille for covering round ventilation openings.

MGE: External grille for covering square ventilation openings.

With insect grille and spring-holder.

For duct diameters from 80 mm to 125 mm.

Technical data

|  |  |
| --- | --- |
| Article: | MGE 80/125 cu |
| Model: | square |
| Air direction: | Air extraction |
| Material: | Copper |
| Weight: | 0,19 kg |
| Weight including packaging: | 0,2 kg |
| Width: | 150 mm |
| Height: | 150 mm |
| Depth: | 23 mm |
| Width with packaging: | 210 mm |
| Height with packaging: | 230 mm |
| Depth with packaging: | 24 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799780328 |
| Article number: | 0078.0032 |

Manufacturer: MAICO

MGE 80/125 cu External grille