**Air filter, replacement WRF 180 EC**

Replacement air filter for WRG 180 EC centralised ventilation unit.

Technical data

|  |  |
| --- | --- |
| Article: | WRF 180 EC |
| Installation position: | vertical / horizontal |
| Weight: | 0,02 kg |
| Weight including packaging: | 0,03 kg |
| Filter class: | ISO Coarse 80 % (G4) |
| Width: | 285 mm |
| Height: | 140 mm |
| Depth: | 16 mm |
| Width with packaging: | 290 mm |
| Height with packaging: | 140 mm |
| Depth with packaging: | 35 mm |
| Packing unit: | 2 pieces |
| Suitable for products: | WRG 180 EC |
| Range: | K |
| GTIN (EAN): | 4012799930600 |
| Article number: | 0093.0060 |

Manufacturer: MAICO

WRF 180 EC Air filter, replacement