**Follow-up relay NRS 10**

Follow-up relay for setting the overrun time of fans.

Activation by means of commercial on/off-switches, push buttons and door contact switches is possible.

Side air gaps are necessary for thermal reasons.

Technical data

|  |  |
| --- | --- |
| Article: | NRS 10 |
| Rated voltage: | 230 V |
| Frequency: | 50 Hz/60 Hz |
| Maximum load (inductive load): | 2,5 A |
| Maximum load (ohmic load): | 10 A |
| Degree of protection: | IP 20 |
| Type of installation: | Control cabinet |
| Weight: | 0,08 kg |
| Weight including packaging: | 0,09 kg |
| Width: | 17,5 mm |
| Height: | 90 mm |
| Depth: | 73 mm |
| Width with packaging: | 27 mm |
| Height with packaging: | 93 mm |
| Depth with packaging: | 74 mm |
| Ambient temperature: | -10 °C up to 50 °C |
| Remote control: |  -  |
| Overrun time: | 0,5 min - 20 min |
| Packing unit: | 1 piece |
| Range: | A |
| GTIN (EAN): | 4012799578055 |
| Article number: | 0157.0805 |

Manufacturer: MAICO

NRS 10 Follow-up relay