**KNX plug-in module K-SM**

The K-SM is fitted on the basic PCB.

This module then allows the unit control to be integrated in a KNX system (e.g. building control system).

For WS 75 Powerbox, WS 120 Trio, WS 160 Flat, WS 170, WS 300 Flat, WR 310 / WR 410, WS 320 and WS 470 centralised ventilation units.

Technical data

|  |  |
| --- | --- |
| Article: | K-SM |
| Rated voltage: | 12 V DC |
| Weight: | 0,02 kg |
| Weight including packaging: | 0,07 kg |
| Width: | 54 mm |
| Height: | 39 mm |
| Depth: | 48 mm |
| Width with packaging: | 187 mm |
| Height with packaging: | 48 mm |
| Depth with packaging: | 143 mm |
| Packing unit: | 1 piece |
| Suitable for products: | Trio, WS 160 Flat, WS 320..., WS 470..., WR 310, WR 410 |
| Range: | K |
| GTIN (EAN): | 4012799925576 |
| Article number: | 0092.0557 |

Manufacturer: MAICO

K-SM KNX plug-in module