**Accessories set EW-Z**

Packing unit includes:

Ready-made pump group:

Housing made from EPP.

Circulation pump: Wilo ST 15/6 eco3.

Ball cocks.

Pressure barometer.

Expansion tank membrane.

Four coupling pieces 32 mm x 1" internal thread.

0.5 m EW hose.

Technical data

|  |  |
| --- | --- |
| Article: | EW-Z |
| Weight: | 10,2 kg |
| Weight including packaging: | 15,23 kg |
| Width: | 390 mm |
| Height: | 400 mm |
| Depth: | 320 mm |
| Width with packaging: | 530 mm |
| Height with packaging: | 430 mm |
| Depth with packaging: | 530 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799924883 |
| Article number: | 0092.0488 |

Manufacturer: MAICO

EW-Z Accessories set