**Air filter, replacement ZF EC+ bulk container**

ZF EC+ replacement air filter with filter change display for the ER-A cover of the ER fan insert.

Technical data

|  |  |
| --- | --- |
| Article: | ZF EC+ bulk container |
| Installation position: | vertical / horizontal |
| Weight: | 0,74 kg |
| Weight including packaging: | 1 kg |
| Filter class: | ISO Coarse 30 % (G2) |
| Width: | 30 mm |
| Height: | 345 mm |
| Depth: | 35 mm |
| Width with packaging: | 31 mm |
| Height with packaging: | 346 mm |
| Depth with packaging: | 36 mm |
| Ambient temperature: | 40 °C |
| Packing unit: | 100 pieces |
| Range: | B |
| GTIN (EAN): | 4012799936114 |
| Article number: | 0093.0611 |

Manufacturer: MAICO

ZF EC+ bulk container Air filter, replacement