**Connection piece Trio AS75**

Produces a coupling between DN 125 connection and two 75 mm Flex ducts.

Technical data

|  |  |
| --- | --- |
| Article: | Trio AS75 |
| Weight: | 0,93 kg |
| Weight including packaging: | 1,36 kg |
| Width: | 335 mm |
| Height: | 173 mm |
| Depth: | 255 mm |
| Width with packaging: | 336 mm |
| Height with packaging: | 255 mm |
| Depth with packaging: | 256 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799179917 |
| Article number: | 0017.0991 |

Manufacturer: MAICO

Trio AS75 Connection piece