**Air filter, replacement ECR 12-20 EC M5**

Replacement air filter for ECR EC compact box.

Filter change is possible without tools.

Technical data

|  |  |
| --- | --- |
| Article: | ECR 12-20 EC M5 |
| Installation position: | vertical / horizontal |
| Weight: | 0,24 kg |
| Weight including packaging: | 0,45 kg |
| Width: | 330 mm |
| Height: | 45 mm |
| Depth: | 275 mm |
| Width with packaging: | 331 mm |
| Height with packaging: | 46 mm |
| Depth with packaging: | 276 mm |
| Packing unit: | 1 piece |
| Range: | E |
| GTIN (EAN): | 4012799991878 |
| Article number: | 0093.1523 |

Manufacturer: MAICO

ECR 12-20 EC M5 Air filter, replacement