**Extension kit PPB 30 VSDF**

Extension kit for roof outlet for installing the PPB 30.

Extension of the internal fluid channel.

Accessories needed for the PPB 30 K and PPB 30 O final installation kits in conjunction with the PP45 DFHK or PP45 DFHL roof outlet sleeves.

Scope of delivery:

Extension sleeve 2000 mm in length, diameter of 90 mm

1 centring ring.

Technical data

|  |  |
| --- | --- |
| Article: | PPB 30 VSDF |
| Installation site: | Wall |
| Material: | Synthetic material |
| Colour: | grey |
| Weight: | 2,6 kg |
| Weight including packaging: | 2,82 kg |
| Nominal size: | 90 mm |
| Length: | 2.000 mm |
| Width: | 90 mm |
| Height: | 90 mm |
| Depth: | 2.000 mm |
| Width with packaging: | 91 mm |
| Height with packaging: | 170 mm |
| Depth with packaging: | 2.005 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799598701 |
| Article number: | 0059.0870 |

Manufacturer: MAICO

PPB 30 VSDF Extension kit