**Insect protection kit ISK**

Insect protection kit for pressure control system of roof fans.

To protect against inspects and spiders entering the atmospheric pressure measurement lance.

Comprising PVC hose modules, which are fitted on the atmospheric pressure measurement lance depending installation position.

Technical data

|  |  |
| --- | --- |
| Article: | ISK |
| Installation site: | Roof |
| Synthetic material definition: | PVC |
| Housing material: | Synthetic material |
| Weight: | 0,01 kg |
| Weight including packaging: | 0,01 kg |
| Width: | 51 mm |
| Height: | 51 mm |
| Depth: | 9 mm |
| Width with packaging: | 155 mm |
| Height with packaging: | 150 mm |
| Depth with packaging: | 10 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799936046 |
| Article number: | 0093.0604 |

Manufacturer: MAICO

ISK Insect protection kit