**Replacement filter mat WSG-EG 300**

Replacement air filter for WS 300 Flat centralised ventilation units.

Technical data

|  |  |
| --- | --- |
| Article: | WSG-EG 300 |
| Installation position: | vertical / horizontal |
| Weight: | 0,15 kg |
| Weight including packaging: | 0,18 kg |
| Type of filter: | Dust filter |
| Filter class: | ISO Coarse 80 % (G4) |
| Width: | 320 mm |
| Height: | 245 mm |
| Depth: | 20 mm |
| Width with packaging: | 510 mm |
| Height with packaging: | 330 mm |
| Depth with packaging: | 100 mm |
| Packing unit: | 10 pieces |
| Suitable for products: | WS 300 Flat |
| Range: | K |
| GTIN (EAN): | 4012799992240 |
| Article number: | 0093.1327 |

Manufacturer: MAICO

WSG-EG 300 Replacement filter mat