**Mounting clamp MF-S75**

Mounting clamps for mounting the MF-F flexible ducts, mainly used for redevelopment work, but also in new buildings.

Quick installation because the ducts can be fitted without any tools.

Technical data

|  |  |
| --- | --- |
| Article: | MF-S75 |
| Air direction: | Ventilation and air extraction |
| Installation site: | Ceiling / Wall / Floor |
| Material: | Sheet steel, galvanised |
| Weight: | 0,1 kg |
| Weight including packaging: | 0,12 kg |
| Suitable for nominal size: | 75 mm |
| Width: | 115 mm |
| Height: | 100 mm |
| Depth: | 32 mm |
| Width with packaging: | 115 mm |
| Height with packaging: | 100 mm |
| Depth with packaging: | 32 mm |
| Thread: | M8 / M10 |
| Width across flats: | SW 17 |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799184706 |
| Article number: | 0018.0470 |

Manufacturer: MAICO

MF-S75 Mounting clamp