**Air filter, replacement SF 120**

Replacement filter for SG 120 external grille.

Technical data

|  |  |
| --- | --- |
| Article: | SF 120 |
| Installation position: | vertical / horizontal |
| Weight: | 0,01 kg |
| Weight including packaging: | 0,02 kg |
| Type of filter: | Dust filter |
| Filter class: | ISO Coarse 30 % (G2) |
| Suitable for nominal size: | 120 mm |
| Width: | 140 mm |
| Height: | 140 mm |
| Depth: | 7 mm |
| Width with packaging: | 250 mm |
| Height with packaging: | 170 mm |
| Depth with packaging: | 35 mm |
| Packing unit: | 5 pieces |
| Range: | A |
| GTIN (EAN): | 4012799939252 |
| Article number: | 0093.0925 |

Manufacturer: MAICO

SF 120 Air filter, replacement