**Brine-air heat exchanger EW-K 225**

Brine-air heat exchanger for transferring the warmth from the brine to the outside air.

Protects the heat exchanger of the ventilation unit from freezing up in the winter (up to -15 °C outside air temperature).

Cools the outside air in the summer.

Condensation drain with 3/4" connection below.

The connection between the register and the PE duct is done by the customer.

Technical data

|  |  |
| --- | --- |
| Article: | EW-K 225 |
| Max. volumetric flow: | 450 m³/h |
| Weight: | 22,7 kg |
| Weight including packaging: | 24,73 kg |
| Type of filter: | Dust filter |
| Filter class: | G4 |
| Brine connection nominal size: | 18 mm |
| Nominal size: | 224 mm |
| Width: | 430 mm |
| Height: | 450 mm |
| Depth: | 502 mm |
| Width with packaging: | 550 mm |
| Height with packaging: | 560 mm |
| Depth with packaging: | 410 mm |
| Thermal insulation: | 30 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799925200 |
| Article number: | 0192.0520 |

Manufacturer: MAICO

EW-K 225 Brine-air heat exchanger