**Plug connectors for ducts SVR 125**

Plug connector for folded spiral-seam ducts, including lip seals.

E.g. for connecting the WS 150, WS 160 Flat or WS 170 centralised ventilation units to folded spiral-seam ducts.

Technical data

|  |  |
| --- | --- |
| Article: | SVR 125 |
| Type of installation: | Recessed-mounted |
| Material: | Sheet steel |
| Weight: | 0,17 kg |
| Weight including packaging: | 0,17 kg |
| Nominal size: | 125 mm |
| Width: | 125 mm |
| Height: | 125 mm |
| Depth: | 130 mm |
| Width with packaging: | 125 mm |
| Height with packaging: | 125 mm |
| Depth with packaging: | 130 mm |
| Ambient temperature: | 60 °C |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799551836 |
| Article number: | 0055.0183 |

Manufacturer: MAICO

SVR 125 Plug connectors for ducts