**Ventilation duct, thermally insulated MT-R125**

Stable, resistant and robust ventilation duct with thermal insulation.

Very good thermal insulation and sound insulation properties.

Can be easily and cleanly shortened using the guide grooves on the sheath side.

Prevents the formation of condensation due to thermal insulation with water-repellent, closed cell structure.

Normal flammability according to fire class B2.

Has a 'Cradle to Cradle' certificate (certificate for environmentally safe, healthy and recyclable material).

Notice:

For thermally insulated MT-R125 ventilation duct, only use the KWH 16 L/KWH 16 R combi-wall connection.

For thermally insulated MT-R160 ventilation duct, only use the KWH 20 L/KWH 20 R combi-wall connection.

See dimensional drawing for KWH.

Technical data

|  |  |
| --- | --- |
| Article: | MT-R125 |
| Volumetric flow: | 200 m³/h recommended |
| Inner wall material: | Insulating polyolefin foam to prevent vapour diffusion |
| Casing tube material: | Polyethylene (HDPE) |
| Colour: | Black |
| Weight: | 2,59 kg |
| Weight including packaging: | 2,6 kg |
| Nominal size: | 125 mm |
| Internal diameter: | 125 mm |
| External diameter: | 160 mm |
| Length: | 2 m |
| Width: | 160 mm |
| Height: | 160 mm |
| Depth: | 2.000 mm |
| Width with packaging: | 160 mm |
| Height with packaging: | 160 mm |
| Depth with packaging: | 2.000 mm |
| Wall thickness: | 15 mm |
| Airstream temperature: | -40 °C up to 95 °C |
| Ambient temperature: | -40 °C up to 95 °C |
| Heat coefficient: | 0.040 W/m\*K at 40 °C |
| Packing unit: | 2 m |
| Range: | K |
| GTIN (EAN): | 4012799599814 |
| Article number: | 0059.0981 |

Manufacturer: MAICO

MT-R125 Ventilation duct, thermally insulated