**Reducer REM 22/18**

Technical data

|  |  |
| --- | --- |
| Article: | REM 22/18 |
| Installation site: | Duct |
| Material: | Synthetic material, shock-resistant |
| Weight: | 0,1 kg |
| Weight including packaging: | 0,135 kg |
| Reduction to nominal size: | 225 mm / 180 mm |
| Width: | 223 mm |
| Height: | 223 mm |
| Depth: | 140 mm |
| Width with packaging: | 223 mm |
| Height with packaging: | 223 mm |
| Depth with packaging: | 140 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799596349 |
| Article number: | 0059.0634 |

Manufacturer: MAICO

REM 22/18 Reducer