**Flexible cuff EL 56**

Flexible cuffs for sound and vibration damped assembly of duct fans.

With 2 tightening straps.

EL ..: Made of plastic.

EL .. Ex: Made of antistatic material, for use in areas subject to explosion hazards.

Technical data

|  |  |
| --- | --- |
| Article: | EL 56 |
| Material: | Synthetic material |
| Weight: | 0,36 kg |
| Weight including packaging: | 0,4 kg |
| Suitable for nominal size: | 560 mm |
| Width: | 570 mm |
| Height: | 570 mm |
| Depth: | 180 mm |
| Width with packaging: | 335 mm |
| Height with packaging: | 40 mm |
| Depth with packaging: | 185 mm |
| Ambient temperature: | 80 °C |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799921509 |
| Article number: | 0092.0150 |

Manufacturer: MAICO

EL 56 Flexible cuff