**Potentiometer ST EC 230**

Potentiometer for controlling EC fans.

Output voltage for ST EC 10 and ST EC 230 can be set in continuously variable manner between 0 - 10 V using rotary knob.

ST EC 3 permits regulation of output voltage over 3 levels:

Level 1 = 3 - 7 V can be set

Level 2 = 5 - 9 V can be set

Level 3 = 10 V

The potentiometer can be fitted in both a recessed-mounted box without housing (IP 44) and surface-mounted with the housing (IP 54).

Additional switching contact for ST EC 010 permits e.g. a controller release to be connected.

ST EC 230 for connection to a 230 V power supply.

ST EC 010 for connection to a 10 V power supply.

ST EC 3 for connection to a 10 - 15 V power supply.

Technical data

|  |  |
| --- | --- |
| Article: | ST EC 230 |
| Type of voltage: | Alternating current |
| Rated voltage: | 230 V |
| Output signal: | 0 V - 10 V |
| Degree of protection: | IP 54 |
| Type of installation: | Surface-mounted / Recessed-mounted |
| Housing material: | Synthetic material |
| Colour: | Pure white, similar to RAL 9010 |
| Weight: | 0,17 kg |
| Weight including packaging: | 0,19 kg |
| Width: | 82 mm |
| Height: | 82 mm |
| Depth: | 65 mm |
| Width with packaging: | 107 mm |
| Height with packaging: | 85 mm |
| Depth with packaging: | 73 mm |
| Packing unit: | 1 piece |
| Range: | E |
| GTIN (EAN): | 4012799571094 |
| Article number: | 0157.0109 |

Manufacturer: MAICO

ST EC 230 Potentiometer