**Air filter, replacement WRF 300 DC**

Replacement air filter for WRG 300 DC centralised ventilation unit.

Technical data

|  |  |
| --- | --- |
| Article: | WRF 300 DC |
| Installation position: | vertical / horizontal |
| Weight: | 0,3 kg |
| Weight including packaging: | 0,31 kg |
| Filter class: | ISO Coarse 45 % (G3) |
| Width: | 420 mm |
| Height: | 240 mm |
| Depth: | 10 mm |
| Width with packaging: | 421 mm |
| Height with packaging: | 241 mm |
| Depth with packaging: | 20 mm |
| Packing unit: | 2 pieces |
| Suitable for products: | WRG 300 DC |
| Range: | K |
| GTIN (EAN): | 4012799930235 |
| Article number: | 0093.0023 |

Manufacturer: MAICO

WRF 300 DC Air filter, replacement