**Mounting plate ZM 11**

Mounting plate for installing MAICO small room fans in square shaft openings.

Can be matched to any wall decorations (e.g. wallpaper).

Technical data

|  |  |
| --- | --- |
| Article: | ZM 11 |
| Installation site: | Channel |
| Type of installation: | Surface-mounted |
| Material: | Synthetic material |
| Colour: | Traffic white, similar to RAL 9016 |
| Weight: | 0,1 kg |
| Weight including packaging: | 0,1 kg |
| Suitable for nominal size: | 100 mm |
| Width: | 160 mm |
| Height: | 275 mm |
| Depth: | 3 mm |
| Width with packaging: | 160 mm |
| Height with packaging: | 275 mm |
| Depth with packaging: | 3 mm |
| Packing unit: | 1 piece |
| Range: | A |
| GTIN (EAN): | 4012799596967 |
| Article number: | 0059.0696 |

Manufacturer: MAICO

ZM 11 Mounting plate