**Spacing frame ECA15-EMA16**

Spacer for mounting ECA 150 ipro fans in WH 16 square wall sleeves used for previously fitted EMA 16, EMA 17 and EMA 18 fans.

Technical data

|  |  |
| --- | --- |
| Article: | ECA15-EMA16 |
| Installation site: | Wall / Ceiling |
| Material: | Solid foam |
| Colour: | Black |
| Weight: | 0,03 kg |
| Weight including packaging: | 0,03 kg |
| Width: | 185 mm |
| Height: | 185 mm |
| Depth: | 60 mm |
| Width with packaging: | 185 mm |
| Height with packaging: | 185 mm |
| Depth with packaging: | 60 mm |
| Packing unit: | 1 piece |
| Range: | A |
| GTIN (EAN): | 4012799922513 |
| Article number: | 0092.0251 |

Manufacturer: MAICO

ECA15-EMA16 Spacing frame