**Speed controller, distribution board STS 2,5**

Speed controller for linear control of the fans.

VDE-tested.

For one rotational direction.

It is possible to fit using a 68 mm or a 35 mm standard profile rail.

There can be a physically induced humming noise at lower speeds, through the use of phase angle technology. TRE... 5-step transformers are therefore used for speed control in rooms requiring quiet fan operations.

Technical data

|  |  |
| --- | --- |
| Article: | STS 2,5 |
| Type of voltage: | Alternating current |
| Rated voltage: | 230 V |
| Maximum load: | 2,5 A |
| Minimum load: | 0,1 A |
| Type of installation: | Distribution board / Control cabinet |
| Colour: | light grey |
| Weight: | 0,178 kg |
| Weight including packaging: | 0,2 kg |
| Width: | 52 mm |
| Height: | 71 mm |
| Depth: | 57,5 mm |
| Width with packaging: | 93 mm |
| Height with packaging: | 80 mm |
| Depth with packaging: | 58 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799572558 |
| Article number: | 0157.0255 |

Manufacturer: MAICO

STS 2,5 Speed controller, distribution board