**5-step transformer, control cabinet TR 2,5 S**

5-step transformers for setting speed.

To control three-phase AC fans.

With foot bracket and connection terminals.

Accessories: DSS 20 5-step switch.

Technical data

|  |  |
| --- | --- |
| Article: | TR 2,5 S |
| Type of voltage: | Three-phase AC |
| Rated voltage: | 400 V |
| Frequency: | 50 Hz/60 Hz |
| Maximum load: | 2,5 A |
| Degree of protection: | IP 00 |
| Secondary voltage: | 150 V / 150 V / 190 V / 250 V / 400 V |
| Type of installation: | Control cabinet |
| Weight: | 10,1 kg |
| Weight including packaging: | 11,7 kg |
| Width with packaging: | 345 mm |
| Height with packaging: | 235 mm |
| Depth with packaging: | 290 mm |
| Ambient temperature: | 40 °C |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799577423 |
| Article number: | 0157.0742 |

Manufacturer: MAICO

TR 2,5 S 5-step transformer, control cabinet