**Time delay switch VZ 24 C**

Time delay switch for controlling the start delay and overrun time of fans.

Operation possible through standard switch.

VZ 24 C: Operation possible through standard switch or button.

Interference suppression in accordance with EN 61000-4-5 (for 1000 V to 4000 V). Additional interference suppression measures (L, C components or RC module, protection diodes, varistors) can be fitted, if required.

Mark of conformity: VDE.

Technical data

|  |  |
| --- | --- |
| Article: | VZ 24 C |
| Rated voltage: | 230 V |
| Frequency: | 50 Hz/60 Hz |
| Maximum load: | 1,25 A |
| Degree of protection: | IP 40 |
| Weight: | 0,01 kg |
| Weight including packaging: | 0,02 kg |
| Width: | 20 mm |
| Height: | 13 mm |
| Depth: | 35 mm |
| Width with packaging: | 20 mm |
| Height with packaging: | 13 mm |
| Depth with packaging: | 35 mm |
| Ambient temperature: | 0 °C up to 50 °C |
| Remote control: |  -  |
| Overrun time: | 1,5 min - 24 min |
| Start delay: | 0 s - 150 s |
| Packing unit: | 1 piece |
| Range: | A |
| GTIN (EAN): | 4012799578222 |
| Article number: | 0157.0822 |

Manufacturer: MAICO

VZ 24 C Time delay switch