**Thermostat TH 10**

Thermostat for controlling fans depending on the air temperature.

It is possible to operate the fan with increasing or decreasing air temperature (changeover contact).

With switching status display fitted on the inner side.

Interference suppression in accordance with VDE 0875, interference level N.

Temperature sensor with 2 m connecting cable.

Technical data

|  |  |
| --- | --- |
| Article: | TH 10 |
| Type of voltage: | Alternating current |
| Rated voltage: | 230 V |
| Maximum load (inductive load): | 4 A |
| Maximum load (ohmic load): | 10 A |
| Degree of protection: | IP 54 |
| Type of installation: | Surface-mounted |
| Weight: | 0,42 kg |
| Weight including packaging: | 0,46 kg |
| Width: | 125 mm |
| Height: | 110 mm |
| Depth: | 69 mm |
| Width with packaging: | 175 mm |
| Height with packaging: | 120 mm |
| Depth with packaging: | 75 mm |
| Ambient temperature: | 50 °C |
| Temperature setting range: | -10 °C up to 30 °C |
| Differential gap: | approx. 0.2 K to 5 K |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799577645 |
| Article number: | 0157.0764 |

Manufacturer: MAICO

TH 10 Thermostat