**Thermostat TH 16**

Thermostat for controlling fans depending on the air temperature.

It is possible to operate the fan with increasing or decreasing air temperature (changeover contact).

An US 16 T universal contactor is required for switching the three-phase AC fans.

VDE, SEV, Semko and Nemko tested.

Accessories: DS 10 rotary switch for operating fans independently of the thermostat.

Technical data

|  |  |
| --- | --- |
| Article: | TH 16 |
| Type of voltage: | Alternating current |
| Rated voltage: | 230 V |
| Maximum load (inductive load): | 4 A |
| Maximum load (ohmic load): | 16 A |
| Degree of protection: | IP 54 |
| Type of installation: | Surface-mounted |
| Weight: | 0,31 kg |
| Weight including packaging: | 0,35 kg |
| Width: | 115 mm |
| Height: | 150 mm |
| Depth: | 68 mm |
| Width with packaging: | 123 mm |
| Height with packaging: | 158 mm |
| Depth with packaging: | 77 mm |
| Ambient temperature: | 50 °C |
| Temperature setting range: | 0 °C up to 50 °C |
| Differential gap: | approx. 1.5 K |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799577485 |
| Article number: | 0157.0748 |

Manufacturer: MAICO

TH 16 Thermostat