**Enthalpy heat exchanger ETWT WS 75**

Enthalpy heat exchanger as spare part for the WS 75 semi-centralised ventilation units.

Technical data

|  |  |
| --- | --- |
| Article: | ETWT WS 75 |
| Weight: | 2,67 kg |
| Weight including packaging: | 3,33 kg |
| Width: | 365 mm |
| Height: | 365 mm |
| Depth: | 105 mm |
| Width with packaging: | 430 mm |
| Height with packaging: | 425 mm |
| Depth with packaging: | 177 mm |
| Degree of heat provision: | 93 % |
| Range: | K |
| GTIN (EAN): | 4012799101369 |
| Article number: | E192.0704.0000 |

Manufacturer: MAICO

ETWT WS 75 Enthalpy heat exchanger