**Air filter, replacement WSG 600**

Replacement air filter for WS 600 centralised ventilation unit.

Technical data

|  |  |
| --- | --- |
| Article: | WSG 600 |
| Installation position: | vertical / horizontal |
| Weight: | 0,08 kg |
| Weight including packaging: | 0,09 kg |
| Filter class: | ISO Coarse 80 % (G4) |
| Width: | 485 mm |
| Height: | 295 mm |
| Depth: | 20 mm |
| Width with packaging: | 500 mm |
| Height with packaging: | 400 mm |
| Depth with packaging: | 60 mm |
| Packing unit: | 2 pieces |
| Suitable for products: | WS 600 |
| Range: | K |
| GTIN (EAN): | 4012799938866 |
| Article number: | 0093.0886 |

Manufacturer: MAICO

WSG 600 Air filter, replacement