**Air outlet grille SGAI 16**

Rectangular protective grille.

For attachment to the fan.

Technical data

|  |  |
| --- | --- |
| Article: | SGAI 16 |
| Material: | Sheet steel |
| Colour: | Silver |
| Weight: | 0,15 kg |
| Weight including packaging: | 0,15 kg |
| Suitable for nominal size: | 160 mm |
| Width: | 195 mm |
| Height: | 195 mm |
| Depth: | 2 mm |
| Width with packaging: | 195 mm |
| Height with packaging: | 195 mm |
| Depth with packaging: | 2 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799732914 |
| Article number: | 0073.0291 |

Manufacturer: MAICO

SGAI 16 Air outlet grille