**Channel shutter VKRI HV 63-75-80-90**

Airstream-operated channel shutter with rectangular connection plate.

Technical data

|  |  |
| --- | --- |
| Article: | VKRI HV 63-75-80-90 |
| Material: | Steel |
| Colour: | grey |
| Weight: | 8 kg |
| Weight including packaging: | 8 kg |
| Width: | 820 mm |
| Height: | 820 mm |
| Depth: | 200 mm |
| Width with packaging: | 820 mm |
| Height with packaging: | 820 mm |
| Depth with packaging: | 200 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799730637 |
| Article number: | 0073.0063 |

Manufacturer: MAICO

VKRI HV 63-75-80-90 Channel shutter