**DZQ 40/64 A**

Technical data

|  |  |
| --- | --- |
| Article: | DZQ 40/64 A |
| Air flow volume: | 2.800 m³/h / 4.350 m³/h |
| Rotating speed: | 930 1/min / 1.425 1/min |
| Speed controllable: |  -  |
| Reversing capacity: |  -  |
| Power consumption: | 160 W / 300 W |
| Imax: | 0,38 A / 0,6 A |
| Pole-changeable: |  -  |
| Weight: | 10,8 |
| Airstream temperature at IMax: | 75 °C |
| Packing unit: | 1 piece |
| Article number: | 0083.0456 |

Manufacturer: MAICO

DZQ 40/64 A