**Replacement filter mats WSG-EG 320/470**

Replacement air filter mats for the WR 310/WR 410, WS 320 and WS 470 centralised ventilation units.

For placing in WSG-ES 320/470 push-in frame.

Technical data

|  |  |
| --- | --- |
| Article: | WSG-EG 320/470 |
| Installation position: | vertical / horizontal |
| Weight: | 0,25 kg |
| Weight including packaging: | 0,27 kg |
| Type of filter: | Dust filter |
| Filter class: | ISO Coarse 85 % (G4) |
| Width: | 505 mm |
| Height: | 170 mm |
| Depth: | 18 mm |
| Width with packaging: | 550 mm |
| Height with packaging: | 175 mm |
| Depth with packaging: | 185 mm |
| Packing unit: | 10 pieces |
| Suitable for products: | WS 320..., WS 470..., WR 310, WR 410 |
| Range: | K |
| GTIN (EAN): | 4012799925620 |
| Article number: | 0092.0562 |

Manufacturer: MAICO

WSG-EG 320/470 Replacement filter mats