**Intermediate piece, asymmetric USAN55/220/80**

Features

Round to square transition piece.

Square: Sleeve size.

Round (asymmetrical): Nipple size

Surface: Sendzimir galvanised

Suitable for connection with MF-WE slide-in adaptor.

Technical data

|  |  |
| --- | --- |
| Article: | USAN55/220/80 |
| Material: | Sheet steel, Sendzimir galvanised |
| Weight including packaging: | 0 kg |
| Width with packaging: | 0 mm |
| Height with packaging: | 0 mm |
| Depth with packaging: | 0 mm |
| Packing unit: | 1 piece |
| Range: | K |
| GTIN (EAN): | 4012799556596 |
| Article number: | 0055.0659 |

Manufacturer: MAICO

USAN55/220/80 Intermediate piece, asymmetric