**Air filter, replacement CB 1200 H14**

Replacement air filter for the CleanBox 1200.

Technical data

|  |  |
| --- | --- |
| Article: | CB 1200 H14 |
| Installation site: | in unit |
| Installation position: | vertical / horizontal |
| Material: | Microglass |
| Colour: | white |
| Weight: | 5,5 kg |
| Weight including packaging: | 6,5 kg |
| Type of filter: | HEPA filter |
| Filter class: | H14 |
| Width: | 610 mm |
| Height: | 156 mm |
| Depth: | 459 mm |
| Width with packaging: | 620 mm |
| Height with packaging: | 265 mm |
| Depth with packaging: | 465 mm |
| Packing unit: | 1 piece |
| Suitable for products: | CleanBox 1200 |
| Range: | L |
| GTIN (EAN): | 4012799925798 |
| Article number: | 0092.0579 |

Manufacturer: MAICO

CB 1200 H14 Air filter, replacement